## List
CID
Clinically Validated Assays
NGS SOLID TUMOR | FISH
NGS PGDx v1 | 1p/19q
NGS Genexus v1 | ALK*
NGS Solid Tumor Snapshot v2 | BCL2*
NGS Solid Fusion Assay v2 | BCL6*
NGS Sarcoma Fusion Assay v1 | CDKN2A
CHOP*
HEMATOLOGY/LEUKEMIA | EGFR
HemeFusion assay v2 | EWSR1*
FGFR1
FKHR*
NON-NGS GENOTYPING | HER2 (breast)
Rapid BRAF (tissue: codon V600E/E2/D, V600K/R/M) | HER2 (non-breast)
Rapid IDH1/IDH2 (blood, tissue) | KRAS
Rapid EGFR Assay (tissue: MGH patients only) | MET
FLT3 (ITD)/ NPM1 | MYC/c-MYC*
JAK2/CALR | NTRK1*
MLH1 Promoter Methylation | NTRK3*
MGMT Promoter Methylation | PDGFRA
PIK3CA
Chimerism | RET*
Pre-transplant STR Genotyping | ROS1*
Post-transplant Chimerism (requires pre-transplant genotyping) | SYT*
* Break Apart
Hemochromatosis
HFE

## Gnxs v1
TEST INFORMATION:
The Genexus NGS V1 assay is a next-generation sequencing (NGS) tumor profiling test. The Genexus NGS assay utilizes a targeted, amplicon-based next-generation sequencing (NGS) assay for detecting select regions across 50 genes for the identification of key genomic alterations as described below. The Genexus NGS V1 assay covers specific somatic single nucleotide variants (SNV), insertions/deletions (indel), copy number variants, and gene fusions in genomic DNA and RNA obtained from formalin-fixed paraffin-embedded tumor tissue using the Oncomine Precision Assay on an Ion Torrent Integrated Sequencer.
Briefly, a board-certified molecular pathologist performed microscopic review of routine H&E-stained sections using validated digital pathology or traditional workflows, and circled appropriate region(s) of interest, followed by tumor enrichment by microdissection and prior to nucleic acid extraction. The genomic nucleic acid was quantified prior to construction of a genomic library for sequencing. Primer specific amplification of targets then occurs, followed by enzymatic digestion, end-repair, and ligation with indexed adapters. The adapter-ligated library is quantified and normalized into a pool for sequencing on a Genexus instrument using Ion-Torrent technology. Sequence data is processed using an automated bioinformatics pipeline for identification and reporting of genomic alterations. For variant classification, we follow published AMP/ASCO/CAP guidelines and report Tier IA variants under “Findings with Evidence of Clinical Significance” and Tier IB-IV variants under “Findings with Potential Clinical Significance” (1). Custom variant interpretations (OncoKB precision oncology knowledge base (2)) are added using a laboratory-developed algorithm based on alteration and tumor type. One limitation of NGS is that it may provide incorrect sequence information or mutational data due to insufficient coverage in specific regions of the genome, inability to distinguish highly related sequences, and sequencing errors. A negative result does not rule out the presence of a mutation below the limits of detection of the assay or in regions or genes not covered by this assay (see target list). The assay is validated for samples showing 10% or higher tumor cellularity and we established detection of SNVs and indels showing 5.0% or higher allele frequency.
Targets for SNV/indel calling are as follows (45 genes, covering 457 amino acid positions and/or exons, 2138 different nucleotide specific alterations):
AKT1 (E17, P51, L52, P70, R76, C77, Q79)
AKT2 (E17, D324)
AKT3 (E17, L51, Q78)
ALK (G1123, G1128, E1129, T1151, L1152, E1154, C1156, S1157, I1171, F1174, V1180, R1192, L1196,
L1198, A1200, G1202, D1203, S1206, R1209, E1210, R1231, F1245, I1268, G1269, R1275, Y1278,
A1280, L1535)
AR (L702, V716, V731, W742, F814, H875, F877, T878, D880, L882, S889, D891, E894, M896, E898)
ARAF (S214)
BRAF (R462, I463, G464, G466, G469, Y472, N581, E586, D594, F595, G596, L597, A598, T599, V600, K601)
CDK4 (K22, R24)
CDKN2A (R58)
CHEK2 (K373, K373E, M381, R523)
CTNNB1 (D32, S33, G34, I35, H36, S37, T41, P44, S45, L46, K335)
EGFR (R108, A289, V292, R451, S464, G465, K467, I491, S492, G598, E709, L718, G719, S720, G721, G724, I744,
E746, L747, A750, K757, Exon 19 deletions, S768, V769, N771, C775, T790, L792, G796, C797, L798,
Exon 20 insertions, L833, H835, R836, P848, T854, L858, L861)
ERBB2 (exon 20, G309, S310, C311, E321, V659, G660, R678, T733, L755, I767, D769, M774, G776, V777, G778,
T798, V842, R868, L869, R896)
ERBB3 (M60, M91, R103, V104, G284, D297, E332)
ERBB4 (R711)
ESR1 (K303, E380, V392, S463, P535, L536, Y537, D538, R555)
FGFR1 (V592, K687)
FGFR2 (S252, P253, K310, A314, A315, Y375, C382, M391, V395, H544, I547, N549, V564, E565, G613, L617, K641,
A648, K659, V679)
FGFR3 (R248, S249, G370, S371, Y373, G380, F384, A391, R399, V553, V555, D641, K650, V677, K715)
FGFR4 (V550)
FLT3 (D835, I836, D839)
GNA11 (R183, Q209)
GNAQ (R183, Q209)
GNAS (R201, Q227)
HRAS (G12, G13, Q61)
IDH1 (G70, R132, S280)
IDH2 (R140, R172, Q316, I319)
KIT (exon 8, exon 9, exon 11, F522, V530, K550, 642, 653, V654, N655, T670, N680, H697, R796, D816, D820,
N822, Y823, V825, A829, P838)
KRAS (G12, G13, G15, A59, Q61, K117, A146)
MAP2K1 (F53, Q56, K57, V60, L115, C121, P124, G128, F129, E203, V211, L215)
MAP2K2 (V35, C125, N126)
MET (exon 14 skipping, R988, Y1021, A1023, D1028, H1112)
MTOR (A1459, L1460, C1483, E1799, F1888, T1977, V2006, F2108, N2206, L2209, A2210, S2215, L2216, R2217, L2220, L2427)
NRAS (G12, G13, A59, Q61, K117, A146)
NTRK1 (V573, F589, G595, G667)
NTRK2 (Q612, V617, F633, G639, R646, G709)
NTRK3 (V601, F617, G623, G696)
PDGFRA (exon 12, exon 14, exon 18, V536, Y555, V561, D568, P577, Q579, H650, N659, R841, D842, I843, H845,
D846, N848, Y849, G853)
PIK3CA (R38, E39, E81, P104, G106, R108, E109, E110, K111, G118, V344, N345, E418, C420, D538, P539, E542,
E545, Q546, E547, D1017, Y1021, T1025, M1043, N1044, D1045, A1046, H1047, H1048, G1049)
PTEN (Y16, D24, N48, C71, A126, G127, G129, R130, T131, V133, C136, Y155, S170, R173, Y174, L181, F341, V343,
L345)
RAF1 (S257, S259)
RET (C618, C620, D627, P628, C630, D631, E632, C634, E768, R770, I788, L790, V804, Y806, G810, L881, A883,
A883F, E884, R886, S891, R897, D898, V899, S904, S904P, G911, R912, M918, E921, S922)
ROS1 (L1951, S1986, L2026, G2032, D2033)
SMO (I408, L412, A459, C469, D473, Q477, E518, M525, S533, W535)
TP53 (K132, C135, A138, C141, L145, P151, P152, G154, R156, V157, V172, V173, R175, C176, P177, H179, P190,
P191, Q192, H193, L194, I195, R196, V197, R213, H214, V216, Y220, Y234, Y236, M237, C238, N239, S240,
S241, C242, G244, G245, M246, R248, R249, P250, E258, G262, G266, V272, R273, V274, C275, C277, P278,
G279, R280, D281, R282, R283, E285, E286)
Validated genes for copy number calling are as follows (2 genes): CDKN2A, ERBB2
Additional, non-validated genes for copy number calling are as follows (12 genes): ALK, AR, CDKN2A, CD274, EGFR, ERBB2, ERBB3, FGFR1, FGFR2, FGFR3, KRAS, MET, PIK3CA, PTEN
Inter-genic fusions include (16 genes): ALK, BRAF, ESR1, FGFR1, FGFR2, FGFR3, MET, NRG1, NTRK1, NTRK2, NTRK3, NUTM1, RET, ROS1, RSPO2, RSPO3
Intra-genic fusions include (3 genes): AR, EGFR, MET
ANALYSIS PIPELINE VERSION: Genexus Software v6.6; OPA DNA Fus w3.2.0; Post analytical reporting and archiving: v1.0; Variant curation HKSP: v1.0
REFERENCES:
1. Li et al J Mol Diagn. 2017 Jan;19(1):4-23. [PMID: 27993330].
2. Chakravarty et al. JCO Precis Oncol. 2017 Jul;2017:PO.17.00011. [PMID: 28890946].
For more details, please visit: https://www.massgeneral.org/assets/mgh/pdf/pathology/genexus_full_coverage.pdf
This test is run on the ThermoFisher Oncomine Precision Assay on the Ion Torrent Genexus System. The test procedure was developed, and its performance characteristics were established by the MGH Center for Integrated Diagnostics and the assay is being implemented as a laboratory developed test. It has not been cleared or approved by the U.S. Food and Drug Administration. The FDA has determined that such clearance or approval is not necessary. This test is used for clinical purposes. Pursuant to the requirements of CLIA 88, this laboratory has established and verified the test accuracy and precision.
Questions concerning these values should be addressed to Dr. Jochen K. Lennerz at (617) 643-0619. Testing was performed at the Center for Integrated Diagnostics, Massachusetts General Hospital, 55 Fruit St, Boston, MA 02114, and Center for Integrated Diagnostics, Massachusetts General Hospital, 149 13th Street, Charlestown, MA 02129.

## HemeFusion
TEST INFORMATION: Heme Fusion v2
We have developed Anchored Multiplex PCR (AMP) for targeted fusion transcript detection using next generation sequencing (NGS) [1]. Briefly, total nucleic acid was isolated from cytogenetic pellets, blood, bone marrow aspirate or smears. The total nucleic acid was reverse transcribed with random hexamers, followed by second strand synthesis to create double-stranded complementary DNA (cDNA). The double-stranded cDNA was end-repaired, adenylated, and ligated with a half-functional adapter. Two hemi-nested PCR reactions using the ArcherDx Heme Fusion kit primers were performed to create a fully functional sequencing library that targets specific genes (exons) listed below. Illumina NextSeq 2 x 150 base paired-end sequencing results were aligned to the hg19 human genome reference using bwa-mem [2]. A laboratory-developed algorithm was used for fusion transcript detection and annotation. The integrity of the input nucleic acid and the technical performance of the assay were assessed with a qualitative reverse transcription qPCR assay and assessing the DNA/RNA content in the sequencing results. Although this assay may detect several potential fusion variants, only the most prevalent one is reported. The assay is validated for samples showing 6% or higher tumor cellularity.
Validated/reportable genes (exons):
ABL1 (1-5), CBFB (4,5), JAK2 (6-20), KMT2A (2-35), PAX5 (1,4-8), RARA (2-5), RUNX1 (2-9)
Additional targets covered by assay:
Heme fusion v2 (86 genes) ABL2 (2-8), ALK (2,4,6,10,16-23), BCL11B (2-4), BCL2 (2-3), BCL6 (2-3), BCR (1-3,8,12-16), BIRC3 (4-7), BRAF (7-12,15), CCND1 (5), CCND3 (2), CD19 (exon 2 skipping detection), CD28 (4), CDK6 (1-4), CHD1 (1-2), CHIC2 (1-3), CIITA (1-2), CREBBP (2-6), CRLF2 (1-6), CSF1R (9-14), CTLA4 (3), DEK (2-3), DUSP22 (1-2), EBF1 (10-15), EIF4A1 (2-3), ERG (7-11), ETV6 (1-6), FGFR1 (2-12,17), FLT3 (14-18,20), GLIS2 (2-3), IKZF1 (1-3,7-8), IKZF2 (3-4), IKZF3 (2-7), IL2RB (2), KAT6A (13-16), KLF2 (2,3), LYN (6, 7), MALT1 (9), MECOM (1-4), MEF2D (5-8), MKL1 (4-6), MLF1 (2-4), MLLT10 (2-18), MLLT4 (2), MYC (1-2), MYH11 (7-11,14-16), NF1 (14,36), NFKB2 (14-21), NOTCH1 (24-29,34), NOTCH2 (26-28), NOTCH3 (25-27), NOTCH4 (22-24), NTRK3 (15), NUP214 (17-19), NUP98 (8-17), P2RY8 (1), PAG1 (2), PDCD1LG2 (1-3,5-6), PDGFRA (9-14), PDGFRB (8-14), PICALM (16-19), PML (2-7), PRDM16 (1-4), PTK2B (2-8), RBM15 (1), ROS1 (33-36), RUNX1T1 (2-3), SEMA6A (1-2), SETD2 (1-12), STIL (1-2), SYK (3-8), TAL1 (2-4), TCF3 (11-18), TFG (2-4), TP63 (3-5), TSLP (1), TYK2 (16-18), VAV (24-25), ZCCHC7 (1-4), ZNF384 (2-7)
ANALYSIS PIPELINE VERSION: 2.8.2
REFERENCES:
1. Zheng et al. Nat Med 2014;20(12):1479-84. [PMID: 25384085]
2. Li H and Durbin R. Bioinformatics 2009;25(14):1754-60. [PMID: 19451168]
This test was developed, and its performance characteristics were determined by the MGH Center for Integrated Diagnostics. It has not been cleared or approved by the U.S. Food and Drug Administration. The FDA has determined that such clearance or approval is not necessary. This test is used for clinical purposes. Pursuant to the requirements of CLIA 88, this laboratory has established and verified the test accuracy and precision.
Questions concerning these values should be addressed to Dr. Jochen K. Lennerz at (617) 643-0619. Testing was performed at the Center for Integrated Diagnostics, Massachusetts General Hospital, 55 Fruit St, Boston, MA 02114, and Center for Integrated Diagnostics, Massachusetts General Hospital, 149 13th Street, Charlestown, MA 02129.

## PGDxv1
TEST INFORMATION: PGDx v1
The NGS PGDx assay is a next-generation sequencing tumor profiling test. The NGS PGDX assay utilizes a targeted, hybrid-capture based next-generation sequencing (NGS) assay for somatic single nucleotide variant (SNV), insertion/deletion (indel), copy number detection (amplification), and select gene fusion detection, microsatellite instability (MSI), and tumor mutational burden (TMB) in genomic DNA obtained from formalin-fixed, paraffin-embedded tumor tissue using the PGDx elio (TM) tissue complete platform. The NGS PGDx assay covers the full-coding sequence of 505 genes for the identification of key genomic alterations in accordance with professional guidelines in oncology for previously diagnosed patients with solid tumors.
Briefly, genomic DNA was isolated from a formalin-fixed paraffin embedded tumor specimen (after histological review and macrodissection for tumor enrichment). The genomic DNA was quantified and mechanically sheared, followed by end-repair, phosphorylation, adenylation, and ligation with indexed adapters. The adapter-ligated library is hybridized and captured libraries are purified and quality assessed using a fragment analyzer. Sample libraries are quantified and normalized into a sequencing pool and sequenced on an Illumina NextSeq instrument using 2x150 base paired-end sequencing. Sequence data is processed using the PGDx elio platform software, an automated pipeline of software for bioinformatic analysis which identifies and reports genomic alterations (SNVs, indels, amplifications, translocations, and MSI) using a machine learning Cerebro model (1). SNVs and indels are then used to determine TMB scores reported as mutations per megabase (muts/Mb). This test has been designed to detect SNV and indel variants in cases with at least 20% tumor purity (10% allelic frequency) but may be able to detect variants at lower levels in cases with adequate sequencing coverage. Microsatellite instability is assessed from select mononucleotide tracts and signatures of genomic context using a linear classifier. TMB is calculated based on detected sequence mutations and indels using filtering (exclusion of variant below 5% allele fraction, common somatic driver and germline mutations). The final call contains synonymous and non-synonymous alterations reported as muts/Mb; the assay specific cut-off for TMB-high is more than or equal to 16 muts/Mb
For variant classification, we follow published AMP/ASCO/CAP guidelines and report Tier IA variants under “Findings with Evidence of Clinical Significance” and Tier IB-IV variants under “Findings with Potential Clinical Significance” (2). Variant interpretations are generated based on the OncoKB precision oncology knowledge base (3).
The assay shows the following limitations: NGS approaches may provide incorrect sequence or mutational data due to insufficient coverage in specific regions of the genome, inability to distinguish highly related human sequences, and sequencing errors and the analysis of sequence specific alterations can also be hampered by limitations related to the tumor DNA. A negative result does not rule out the presence of a mutation below the limits of detection of the assay. The NGS PGDx assay workflow does not use a patient-matched normal sample but filters polymorphisms using databases.
The full-coding gene targets covered by this test are as follows: ABL1, ABL2, ACVR1, ACVR1B, ADORA2A, AKT1, AKT2, AKT3, ALK, ALOX12B, AMER1, APC, AR, ARAF, ARFRP1, ARID1A, ARID1B, ARID2, ARID5B, ASXL1, ASXL2, ATM, ATR, ATRX, AURKA, AURKB, AXIN1, AXIN2, AXL, B2M, BAP1, BARD1, BBC3, BCL2, BCL2L1, BCL2L11, BCL2L2, BCL6, BCOR, BCORL1, BCR, BIRC2, BLM, BMPR1A, BRAF, BRCA1, BRCA2, BRD4, BRIP1, BTG1, BTG2, BTK, BUB1B, C11ORF30, CALR, CARD11, CASP8, CBFB, CBL, CCND1, CCND2, CCND3, CCNE1, CD22, CD274, CD276, CD70, CD79A, CD79B, CDC73, CDH1, CDK12, CDK4, CDK6, CDK8, CDKN1A, CDKN1B, CDKN1C, CDKN2A, CDKN2B, CDKN2C, CEBPA, CHD2, CHD4, CHEK1, CHEK2, CIC, CREBBP, CRKL, CSF1, CSF1R, CSF2, CSF3, CSF3R, CTCF, CTLA4, CTNNA1, CTNNB1, CUL3, CUL4A, CXCR2, CXCR4, CYLD, CYP17A1, DAXX, DCUN1D1, DDB2, DDR1, DDR2, DICER1, DIS3, DNMT1, DNMT3A, DNMT3B, DOT1L, E2F3, EED, EGFL7, EGFR, EIF1AX, EP300, EPAS1, EPCAM, EPHA2, EPHA3, EPHA5, EPHA7, EPHB1, EPHB4, ERBB2, ERBB3, ERBB4, ERCC1, ERCC2, ERCC3, ERCC4, ERCC5, ERCC6, ERCC8, ERG, ERRFI1, ESR1, ETV1, ETV4, ETV5, ETV6, EWSR1, EXT1, EXT2, EZH2, FAM175A, FAM46C, FANCA, FANCB, FANCC, FANCD2, FANCE, FANCF, FANCG, FANCI, FANCL, FANCM, FAS, FAT1, FBXW7, FGF10, FGF12, FGF14, FGF19, FGF23, FGF3, FGF4, FGF6, FGFR1, FGFR2, FGFR3, FGFR4, FH, FLCN, FLT1, FLT3, FLT4, FOXA1, FOXL2, FOXP1, FRS2, FUBP1, GABRA6, GATA1, GATA2, GATA3, GATA4, GATA6, GID4, GLI1, GNA11, GNA13, GNAQ, GNAS, GPC3, GPR124, GREM1, GRIN2A, GRM3, GSK3B, H3F3A, H3F3B, H3F3C, HDAC1, HDAC2, HDAC6, HGF, HIST1H1C, HIST1H2BD, HIST1H3B, HNF1A, HRAS, HSD3B1, HSP90AA1, HSP90AB1, ICOSLG, ID3, IDH1, IDH2, IFNGR1, IGF1, IGF1R, IGF2, IGF2R, IKBKE, IKZF1, IL10, IL7R, INHBA, INPP4A, INPP4B, INSR, IRF2, IRF4, IRS1, IRS2, JAK1, JAK2, JAK3, JUN, KAT6A, KDM5A, KDM5C, KDM6A, KDR, KEAP1, KEL, KIT, KLF4, KLHL6, KMT2A, KMT2C, KMT2D, KRAS, LATS1, LATS2, LMO1, LRP1B, LTK, LYN, LZTR1, MAF, MAGI2, MAML1, MAP2K1, MAP2K2, MAP2K4, MAP3K1, MAP3K13, MAPK1, MAX, MCL1, MDC1, MDM2, MDM4, MED12, MEF2B, MEN1, MERTK, MET, MITF, MKNK1, MLH1, MLH3, MPL, MRE11A, MSH2, MSH3, MSH6, MST1R, MTAP, MTOR, MUTYH, MYB, MYC, MYCL, MYCN, MYD88, MYOD1, NBN, NCOA3, NCOR1, NF1, NF2, NFE2L2, NFKBIA, NKX2-1, NKX3-1, NOTCH1, NOTCH2, NOTCH3, NOTCH4, NPM1, NRAS, NSD1, NT5C2, NTRK1, NTRK2, NTRK3, NUP93, NUTM1, PAK1, PAK3, PAK7, PALB2, PARK2, PARP1, PARP2, PARP3, PAX5, PAX8, PBRM1, PDCD1, PDCD1LG2, PDGFRA, PDGFRB, PDK1, PDPK1, PHOX2B, PIK3C2B, PIK3C2G, PIK3C3, PIK3CA, PIK3CB, PIK3CD, PIK3CG, PIK3R1, PIK3R2, PIK3R3, PIM1, PLCG2, PLK2, PMAIP1, PMS1, PMS2, PNRC1, POLD1, POLE, POLH, POT1, PPARG, PPP2R1A, PPP2R2A, PRDM1, PREX2, PRKAR1A, PRKCI, PRKDC, PRSS1, PRSS8, PTCH1, PTEN, PTK2, PTPN11, PTPRD, PTPRO, PTPRS, PTPRT, QKI, RAC1, RAD21, RAD50, RAD51, RAD51B, RAD51C, RAD51D, RAD52, RAD54B, RAD54L, RAF1, RANBP2, RARA, RASA1, RB1, RBM10, RECQL4, REL, RET, RFWD2, RHOA, RICTOR, RIT1, RNF43, ROS1, RPA1, RPS6KA4, RPS6KB2, RPTOR, RUNX1, RUNX1T1, RYBP, SBDS, SDHA, SDHAF2, SDHB, SDHC, SDHD, SETD2, SF3B1, SGK1, SH2D1A, SHQ1, SLIT2, SLX4, SMAD2, SMAD3, SMAD4, SMARCA4, SMARCB1, SMARCD1, SMO, SNCAIP, SOCS1, SOX10, SOX17, SOX2, SOX9, SPEN, SPOP, SPTA1, SRC, STAG2, STAT3, STAT4, STK11, STK40, SUFU, SUZ12, SYK, TAF1, TBX3, TEK, TERC, TERT, TET1, TET2, TGFBR1, TGFBR2, TIPARP, TLR4, TLR7, TLR8, TLR9, TMEM127, TMPRSS2, TNFAIP3, TNFRSF14, TOP1, TOP2A, TP53, TP53BP1, TP63, TRAF7, TSC1, TSC2, TSHR, TYRO3, U2AF1, VEGFA, VHL, VTCN1, WAS, WEE1, WHSC1, WHSC1L1, WISP3, WRN, WT1, XIAP, XPA, XPC, XPO1, XRCC1, XRCC2, XRCC3, YAP1, YES1, ZBTB2, ZNF217, ZNF703
The CNV gene targets for copy number gain that are covered by this test are as follows: AXL, BRCA1, BRCA2, CCND1, CCND2, CCND3, CCNE1, CD274, CDK4, EGFR, ERBB2, FGFR1, FGFR2, FGFR3, FGFR4, KDR, KIT, MDM2, MET, MLH1, MSH2, MYC, MYCN, PALB2, PDGFRA, PIK3CA, PIK3CB, PIK3R1.
The gene rearrangements covered by this test are as follows: ALK, AXL, BRAF, BRCA1, BRCA2, EGFR, ETV6, EWSR1, FGFR1, FGFR2, FGFR3, MYC, NTRK1, NTRK2, NTRK3, PAX8, PDGFRA, PDGFRB, RAF1, RET, ROS1, TMPRSS2
ANALYSIS PIPELINE VERSION: PGDx v1.5.2 PGDx elio tissue complete - RUO (07) 4.1.1.0 Post analytical reporting and archival pipeline: v1.0
REFERENCES:
1. Wood et al. Sci Transl Med 2018 Sep 5;10(457):eaar7939. [PMID: 30185652].
2. Li et al J Mol Diagn. 2017 Jan;19(1):4-23. [PMID: 27993330].
3. Chakravarty et al. JCO Precis Oncol. 2017 Jul;2017:PO.17.00011. [PMID: 28890946].
This test is run on the PGDx elio(TM) tissue complete platform, an FDA-cleared in-vitro diagnostic (IVD; Product code: PZM). Its performance characteristics were verified by the MGH Center for Integrated Diagnostics and the assay is being implemented as a laboratory developed test. This test is used for clinical purposes. Pursuant to the requirements of CLIA 88, this laboratory has established and verified the test accuracy and precision.
Questions concerning these values should be addressed to Dr. Jochen K. Lennerz at (617) 643-0619. Testing was performed at the Center for Integrated Diagnostics, Massachusetts General Hospital, 55 Fruit St, Boston, MA 02114, and Center for Integrated Diagnostics, Massachusetts General Hospital, 149 13th Street, Charlestown, MA 02129.

## SarcomaFAv1
TEST INFORMATION: Sarcoma Fusion Assay v1
We have developed Anchored Multiplex PCR (AMP) for targeted fusion transcript detection using next generation sequencing (NGS) [1]. Briefly, total nucleic acid was isolated from a formalin-fixed paraffin embedded tumor specimen after histological review for tumor enrichment. The total nucleic acid was reverse transcribed with random hexamers, followed by second strand synthesis to create double-stranded complementary DNA (cDNA). The double-stranded cDNA was end-repaired, adenylated, and ligated with a half-functional adapter. Two hemi-nested PCR reactions using the ArcherDx Sarcoma primers were performed to create a fully functional sequencing library that targets specific genes (exons) listed below. Illumina NextSeq 2 x 150 base paired-end sequencing results were aligned to the hg19 human genome reference using bwa-mem [2]. A laboratory-developed algorithm was used for fusion transcript detection and annotation. The integrity of the input nucleic acid and the technical performance of the assay were assessed with a qualitative reverse transcription qPCR assay and assessing the DNA/RNA content in the sequencing results. Although this assay may detect several potential fusion variants, only the most prevalent one is reported. The assay is validated for samples showing 10% or higher tumor cellularity.
TARGETS VALIDATED FOR CLINICAL REPORTING: EWSR1 (3,4,5,6,7,8,9,10,11,12,13), FUS (4,5,6,7,8,9,10,11,14), SS18 (4,5,6,8,9,10,11), STAT6 (1,2,3,4,5,6,7,16,17,18,19)
ADDITIONAL TARGETED GENES (EXONS): ALK (19, 20, 21, 22), CAMTA1 (8,9,10), CCNB3 (2,3,4,5,6), CIC (19,20), EPC1 (9,10,11), FOXO1 (1,2,3), GLI1 (4,5,6,7), HMGA2 (1,2,3,4,5), JAZF1 (2,3,4), MEAF6 (4,5), MKL2 (11,12,13), NCOA2 (11,12,13,14), NTRK3 (13,14,15,16), PDGFB (2,3), PLAG1 (1,2,3,4), ROS1 (31,32,33,34,35,36,37), TAF15 (5,6,7), TCF12(4,5,6), TFE3 (3,4,5,6), TFG (4,5,6,7), USP6 (1,2,3), YWHAE (5)
ANALYSIS PIPELINE VERSION: 2.8.2
REFERENCES:
1. Zheng et al. Nat Med 2014;20(12):1479-84. [PMID: 25384085]
2. Li H and Durbin R. Bioinformatics 2009;25(14):1754-60. [PMID: 19451168]
This test was developed, and its performance characteristics were determined by the MGH Center for Integrated Diagnostics. It has not been cleared or approved by the U.S. Food and Drug Administration. The FDA has determined that such clearance or approval is not necessary. This test is used for clinical purposes. Pursuant to the requirements of CLIA 88, this laboratory has established and verified the test accuracy and precision.
Questions concerning these values should be addressed to Dr. Jochen K. Lennerz at (617) 643-0619. Testing was performed at the Center for Integrated Diagnostics, Massachusetts General Hospital, 55 Fruit St, Boston, MA 02114, and Center for Integrated Diagnostics, Massachusetts General Hospital, 149 13th Street, Charlestown, MA 02129.

## SFAv2
TEST INFORMATION: Solid Fusion Assay V2
We have developed Anchored Multiplex PCR (AMP) for targeted fusion transcript detection using next generation sequencing (NGS) [1]. Briefly, total nucleic acid was isolated from a formalin-fixed paraffin embedded tumor specimen after histological review for tumor enrichment. The total nucleic acid was reverse transcribed with random hexamers, followed by second strand synthesis to create double-stranded complementary DNA (cDNA). The double-stranded cDNA was end-repaired, adenylated, and ligated with a half-functional adapter. Two hemi-nested PCR reactions using the ArcherDx FusionPlex Solid Tumor Kit primers were performed to create a fully functional sequencing library that targets specific genes (exons) listed below. Illumina NextSeq 2 x 150 base paired-end sequencing results were aligned to the hg19 human genome reference using bwa-mem [2]. A laboratory-developed algorithm was used for fusion transcript detection and annotation. The integrity of the input nucleic acid and the technical performance of the assay were assessed with a qualitative reverse transcription qPCR assay and assessing the DNA/RNA content in the sequencing results. Although this assay may detect several potential fusion variants, only the most prevalent one is reported. The assay is validated for samples showing 5% or higher tumor cellularity.
TARGETS VALIDATED FOR CLINICAL REPORTING: ALK (19-22, intron 19), BRAF (7-12, 15), BRD4 (10, 11), EGFR (2-7 exon skipping/vIII variant, 7-9, 16, 20, 24, 25), EWSR1 (4-14), FGFR2 (2, 8-10, 17), MAML2 (2, 3), MET (exon 14 skipping), NRG1 (1-3, 6), NUTM1 (3), RET (8-13), and ROS1 (31-37).
ADDITIONAL TARGETED GENES (EXONS): AKT3 (1-3), AR (1-8), ARHGAP26 (2, 10-12), AXL (19,20), BRD3 (9-12), CSF1 (5-9), CSF1R (7,11-13,22), ERG (2-11), ESR1 (3-6), ESRRA (3-5), ETV1 (3-13), ETV4 (2, 4-10), ETV5 (2, 3, 7-9), ETV6 (1-7), FGFR1 (2, 8-10, 17), FGFR3 (8-10, 17, intron 17), FGR (2), INSR (12-22), JAZF1 (2-4), MAST1 (7-9, 18-21), MAST2 (2, 3, 5, 6), MET (13, 15), MSMB (2-4), MUSK (7-9, 11-14), MYB (7-9, 11-16), NOTCH1 (2, 4, 26-31, internal exon 3-27 deletion), NOTCH2 (5-7, 26-28), NTRK1 (8,10-13), NTRK2 (11-17), NTRK3 (13-16), NUMBL (3), PDGFRA (7, exon 8 deletion, 10-14), PDGFRB (8-14), PIK3CA (2), PKN1 (10-13), PPARG (1-3), PRKCA (4-6), PRKCB (3), RAF1 (4-7, 9-12), RELA (3, 4), RSPO2 (1, 2), RSPO3 (2), TERT (2), TFE3 (2-8), TFEB (1,2), THADA (24-31,36), and TMPRSS2 (1-6).
ANALYSIS PIPELINE VERSION: 2.8.2
REFERENCES:
1. Zheng et al. Nat Med 2014;20(12):1479-84. [PMID: 25384085]
2. Li H and Durbin R. Bioinformatics 2009;25(14):1754-60. [PMID: 19451168]
This test was developed, and its performance characteristics were determined by the MGH Center for Integrated Diagnostics. It has not been cleared or approved by the U.S. Food and Drug Administration. The FDA has determined that such clearance or approval is not necessary. This test is used for clinical purposes. Pursuant to the requirements of CLIA 88, this laboratory has established and verified the test accuracy and precision.
Questions concerning these values should be addressed to Dr. Jochen K. Lennerz at (617) 643-0619. Testing was performed at the Center for Integrated Diagnostics, Massachusetts General Hospital, 55 Fruit St, Boston, MA 02114, and Center for Integrated Diagnostics, Massachusetts General Hospital, 149 13th Street, Charlestown, MA 02129.

## SSv2
TEST INFORMATION: Solid Snapshot v2
This test utilizes a multiplex polymerase chain reaction (PCR) technology called Anchored Multiplex PCR (AMP [1]) for single nucleotide variant (SNV), insertion/deletion (indel), and copy number detection in genomic DNA using the ArcherDx platform and Illumina NextSeq next generation sequencing (NGS). Briefly, genomic DNA was isolated from a formalin-fixed paraffin embedded tumor specimen (after histological review for tumor enrichment), blood, bone marrow aspirates, or pancreatic cyst fluid. The genomic DNA was enzymatically sheared, end-repaired, adenylated, and ligated with a half-functional adapter. A sequencing library targeting hotspots and full exons was generated using two hemi-nested PCR reactions. Illumina NextSeq 2x150 base paired-end sequencing results were aligned to the hg19 human genome reference using Novoalign [2]. An ensemble variant calling approach, using MuTect1 [3], LoFreq [4], GATK [5, 6, 7], and a laboratory developed hotspot caller, was applied for SNV and indel variant detection. A laboratory developed copy number caller utilizing a coverage distribution from a panel of normals was applied for copy gain and loss detection. Variants are reported with Human Genome Variation Society (HGVS) protein and DNA nomenclature, followed by the referenced Ensembl transcript ID. This test has been validated to detect SNV and indel variants at 5% allelic frequency or higher in target regions with sufficient read coverage.
TMB (tumor mutational burden) is reported as a total absolute count across the covered regions of the assay. The count is determined by quantitating the number of somatic mutations in sequenced genes on this panel. Somatic mutations are defined as all intronic, synonymous and non-synonymous variants present with allele frequencies between 5-95% that are not present in a panel of normal cases after excluding low quality variants and technical artifacts (by base quality metrics), and including variants supported by a minimum number of reads and prioritized variant calling methods. We determined that an absolute TMB count greater than or equal to 15 shows 96.8% concordance with identification of a TMB-high status in orthogonal assays. In high quality/high tumor purity samples, we determined the precision of the absolute TMB count to be 98%. We also provide a summarized “TMB-high” or “TMB-low” interpretation and the tumor type-specific historic rank of the absolute TMB count in each case relative to a reference population assessed with this assay. Disclaimer: TMB estimation based on mutation counting in targeted panels may not reflect the tumor mutational burden determined by other assays (e.g., whole exome sequencing). Direct conversion of the reported absolute TMB count to other assays or standards is not possible.
The assay shows the following limitations for copy number calling: (1) aneuploidy cannot be distinguished from gene specific copy gains or copy losses, (2) limited sensitivity for borderline/weak copy gains or copy losses, (3) limited sensitivity in specimens with low tumor cellularity, (4) limited performance in poor quality specimens showing suboptimal coverage, and (5) absolute copy number status cannot be determined.
The SNV and indel gene targets covered by this test are as follows (exons): ABL1 (4-7), AKT1 (3,6), ALK (21-23,25), APC (16), ARID1A (1-20), ATM (1-63), ATRX (1-35), AURKA (2,5-8), BRAF (11,15), BRCA1 (2-23), BRCA2 (2-27), CCNB1 (2,[3-partial],5,[6-partial],7), CCND2 ([2-partial],3-4,[5-partial]), CCND3 (2-5-partial), CCNE1 (3-8,10,12), CDH1 (1-16), CDK4 (2-7), CDK6 (6), CDKN2A (1-3), CIC (1-20), CSF1R (7,22), CTNNB1 (3), DAXX (1-8), DDR2 (12-18), DDX3X (1-17), EGFR (3,7,15,18-21), ERBB2 (8,10,19-21,24), ERBB3 (2-3,7-8), ERBB4 (3-4,6-9,15,23), ESR1 (8), EZH2 (16), FBXW7 (1-11), FGFR1 (4,7-8,13,15,17), FGFR2 (7,9,12,14), FGFR3 (7-9,14-16,18), FLT3 (11,14,16,20), FOXL2 (1), GNA11 (5), GNAQ (4-5), GNAS (6-9), H3F3A (2), HNF1A (3-4), HRAS (2-3), IDH1 (3-4), IDH2 (4), JAK2 (11,13-14,16,19), JAK3 (4,13,16), KDR (6-7,11,19,21,26-27,30), KEAP1 (2-6), KIT (2,8-11,13-15,17-18), KRAS (2-5), MAP2K1 (2,3,6-7), MAP3K1 (1-20), MDM2 (2-4,6,8,10), MDM4 ([4-partial],5-6,[7,9-11-partial]), MEN1 (2-10), MET (2,11,14,16,19,21), MITF (1-partial), MLH1 (12), MPL (10), MSH6 (1-10), MSI, MYC (1-3), MYCN (3), NF1 (1-58), NF2 (1-15), NKX2-1 (1-partial), NOTCH1 (25-27,34), NPM1 (11), NRAS (2-5), PDGFRA (12,14-15,18,23), PIK3CA (2,5,7-8,10,14,19,21), PIK3R1 (1-10), POLE (9-14), PTCH1 (1-23), PTEN (1-9), PTPN11 (3,13), RB1 (1-27), RET (10-11,13-16), RHOA (2-3), RNF43 (2-10), ROS1 (36-38), SDHB (1-8), SMAD2 (7), SMAD4 (2-12), SMARCA4 (3-36), SMARCB1 (2,4,5,9), SMO (3,5-6,9,11), SRC (14), STAG2 (3-34), STK11 (1-9), SUFU (1-12), TERT (1), TP53 (1-11), TP63 (1-14), TSC1 (3-23), TSC2 (2-42), TSHR (10), VHL (1-3).
The CNV gene targets covered by this test are as follows: ABL1, AKT1, ALK, APC, ARID1A, ATM, ATRX, AURKA, BRAF, BRCA1, BRCA2, CAMTA1, CCNB1, CCND1, CCND2, CCND3, CCNE1, CDK4, CDKN2A, CDK6, CIC, CDH1, CSF1R, DAXX, DDR2, DDX3X, EGFR, ERBB2 (HER-2), ERBB3, ERBB4, FBXW7, FGF19, FGFR1, FGFR2, FGFR3, FLT3, FOXL2, GLI2, GNA11, GNAQ, GNAS, HNF1A, HRAS, IDH1, JAK2, JAK3, KDR, KEAP1, KIT, KRAS, MAP2K1, MAP3K1, MDM2, MDM4, MEN1, MET, MITF, MLH1, MSH6, MYC, MYCN, NF1, NF2, NKX2-1, NOTCH1, NRAS, PDGFRA, PIK3CA, PIK3R1, PLAUR, POLE, PTCH1, PTEN, PTPN11, RB1, RET, RHOA, RNF43, SDHB, SMAD2, SMAD4, SMARCA4, SMARCB1, SMO, SRC, STAG2, STK11, SUFU, TERT, TP53, TP63, TSC1, TSC2, and VHL.
ANALYSIS PIPELINE VERSION: CIDer v2.8.2
ANNOTATION VERSION: Variant Effect Predictor v83 [8]
TUMOR MUTATIONAL BURDEN (TMB): Version 1.0
REFERENCES:
1. Zheng et al. Nat Med 2014;20(12):1479-84. [PMID: 25384085]
2. Novocraft Technologies (Selangor, Malaysia)
3. Cibulskis et al. Nat Biotechnol 2013;31(3):213-9. [PMID: 23396013]
4. Wilm et al. Nucleic Acids Res 2012; 40(22):11189-201. [PMID: 23066108]
5. McKenna et al. Genome Res 2010; 20(9):1297-303. [PMID: 20644199 ]
6. DePristo et al. Nat Genet 2011; 43(5):491-8. [PMID: 21478889]
7. Van der Auwera et al. Curr Protoc Bioinformatics 2013;43:11.10.1-33. [PMID: 25431634]
8. McLaren et al. Genome Biol. 2016 Jun 6;17(1):122. [PMID: 27268795]
9. Samstein et al., Nat Genet. 2019 Feb 5;51(2):202-206. [PMID: 30643254]
10. Goodman et al., Mol Cancer Ther. 2017 Nov 16(11):2598-2608. [PMID:28835386]
11. Goodman et al., Cancer Immunol Res. 2019 Oct;7(10):1570-1573. [PMID: 31405947]
12. Cristescy et al., Science 2018 Oct 12;362(6411). [PMID: 30309915]
This test was developed, and its performance characteristics were determined by the MGH Center for Integrated Diagnostics. It has not been cleared or approved by the U.S. Food and Drug Administration. The FDA has determined that such clearance or approval is not necessary. This test is used for clinical purposes. Pursuant to the requirements of CLIA 88, this laboratory has established and verified the test accuracy and precision.
Questions concerning these values should be addressed to Dr. Jochen K. Lennerz at (617) 643-0619. Testing was performed at the Center for Integrated Diagnostics, Massachusetts General Hospital, 55 Fruit St, Boston, MA 02114, and Center for Integrated Diagnostics, Massachusetts General Hospital, 149 13th Street, Charlestown, MA 02129.